7_SMART Module Deck Instruction V0.1

Catalog

1.	Preparation	1

2.	Connection	2

3.	Driver Install	3

3.1	USB Cable Driver installation:	3

3.2	Driver Confirmation	4

4.	Software Function	4

- Preparation

Test Require： 7_SMART Module Deck     Figure 1.1

7_SMART Module          Figure 1.2

Figure 1.1

Figure 1.2

- Connection

Fix the 7_SMART Module on the &_SMART Module Deck as in Figure 2.1.

Figure 2.1

- Driver Install

  - USB Cable Driver installation:

Connect the USB cable to Computer, it is important.

Get to the driver folder, click “SETUP.EXE”

Click the reference place in Figure 3.1, because it is written in Chinese. It may display garbled code, so wait until the message box show in Figure 3.2. If the installation is success, a virtual serial port will be generated in the device manager.

Figure 3.1

Figure 3.2

  - USB Cable Driver installation:

## If cannot install the driver successfully in 3.1, then use this way to update the driver

## First find the Device in the Device Manage, click right button, select Update driver as in Figure 3.3

## Second, select “Browse my computer for driver software “as in Figure 3.4

## Third, select the driver location, and next to the end as in Figure 3.5

## Figure 3.3

## Figure 3.4

## Figure 3.5

  - Driver Confirmation

Check the computer management, and if the USB-SERIAL CH340 is found, driver install is success.

Figure 3.5

- Software Function

Please refer to the “7 SMART MODULE TEST Instruction V0.3.docx”in 7_SMART MODULE TEST V1.7.zip